## 577A (2)
Mail original before the 10th of the following month | [19 empty] | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | [15 empty] | PAGE 2
to the Department of Environmental Quality, Water Quality Division | [19 empty] | MONTHLY OPERATIONAL REPORT
P. O. Box 1677, Oklahoma City, OK 73101-1677 | [19 empty] | WATER TREATMENT PLANTS SERVING LESS THAN 10,000 PEOPLE | [14 empty] | Plant:
PWSID:
Month:
| System | [7 empty] | Address | [6 empty] | City | [6 empty] | ZIP
DAY | WATER | FILTER OPERATION | [5 empty] | WASH | CHEMICALS USED-LBS. | [7 empty] | ALKALINITY - RAW |  |  |  | ALKALINITY - FILTERED |  |  |  | pH |  |  | CaCO3 | HARDNESS |  | Special Test |  | Special Test |  | REMARKS
| TREATED | FILTERS USED-HOURS | [5 empty] | WATER | ALUM | LIME | POLYMER | SODA | CARBON | OTHER | CHLORINE | [12 empty] | STABILITY | (ppm)
| (in 1,000 gal) | [6 empty] | IN 1000 |  |  | Name: | ASH |  | Name: | [13 empty] | Method: |  |  | Fe, Mn or Other |  | Fe, Mn or Other
|  | 1 | 2 | 3 | 4 | 5 | 6 | GALS. | [6 empty] | PRE | POST | "P" | "P" | TOTAL | TOTAL | "P" | "P" | TOTAL | TOTAL | RAW | FILT | FILT |  | RAW | FILT | RAW | FILT | RAW | FILT
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOT
Avg
Power Costs
Labor Costs | [10 empty] | Ave Rate of Wash (Vert. in/min) | [8 empty] | I hereby certify the above to be correct
Chemicals | [19 empty] | to the best of my knowledge.
Supplies | [10 empty] | Ave Wash Period (Minutes) | [18 empty] | DEQ Form # 630-577Small
Repairs | [19 empty] | Signed | [9 empty] | Revised 7/2/2008
Testing Cost | [10 empty] | % Wash Water Used
| TOTAL | [18 empty] | Title | [9 empty] | Oper. Cert. No.
Ave. Head Loss for Washing
Cost per thousand gallons
|  | 4: 0; 5: 0; 6: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 1: 0; 2: 0; 3: 0

## 577A
[7 empty] | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | [15 empty] | PAGE 1
MONTHLY OPERATIONAL REPORT
[7 empty] | WATER TREATMENT PLANTS SERVING LESS THAN 10,000 PEOPLE | [14 empty] | Plant:
PWSID:
Month:
| System | Address |  |  |  |  | City | [7 empty] | ZIP
Turbidity and Residual Summary |  |  |  |  | TURBIDITY | [8 empty] | FREE CHLORINE RESIDUAL | [6 empty] | Chlorine |  | Comments
Total no. of turbidity analyses |  |  |  | DAY | RAW | SET | SET | 2400-0400 | 0400-0800 | 0800-1200 | 1200-1600 | 1600-2000 | 2000-2400 | ENTRY POINT TO DISTRIBUTION | [5 empty] | DISTRIBUTION | Dioxide
Number of samples above 1 NTU | [13 empty] | 12am | 4am | 8am | 12pm | 4pm | 8pm | SYSTEM | ClO2 | Chlorite
HIGHEST turbidity reading |  |  | % OF TOTAL | 1
Turbidity Greater than 0.3 NTU |  |  |  | 2
FREE CHLORINE - ENTRY POINT |  |  |  | 3
Total no. of chlorine residual analyses |  |  |  | 4
Number of samples below 1.0 ppm |  |  |  | 5
Lowest chlorine residual |  |  |  | 6
FREE CHLORINE - DISTRIBUTION |  |  |  | 7
Total no. of chlorine residual analyses |  |  |  | 8
Number of samples below 0.2 ppm |  |  |  | 9
Lowest chlorine residual |  |  |  | 10
11
Individual Filter Turbidity Checklist (Conventional Treatment Plant Only)* |  |  |  | 12
1. Was each filter monitored continuously? |  |  |  | 13
If NO, was the combined filter effluent (CFE) monitored continuously? |  |  |  | 14
Were measurement recorded every 15 minutes? |  |  |  | 15
2. Was there a failure of the continuously monitoring equipment? |  |  |  | 16
3. Was individual filter level greater than 1.0 NTU two consecutive measurements? |  |  |  | 17
18
19
4. Did the same filter or CFE exceed 1.0 NTU in 2 consecutive 15 min periods during the last 3 months? |  |  |  | 20
21
22
5. Did any single filter exceed 2.0 NTU is 2 consecutive 15-min period? |  |  |  | 23
24
25
6. Did the same filter exceed 2.0 NTU in 2 consecutive 15-min periods during the last month? |  |  |  | 26
27
28
29
| * IF QUESTIONS 3, 4, 5, AND 6 ARE CHECKED "YES," YOU MUST COMPLETE |  |  | 30
| THE TURBIDITY TRIGGER EVALUATION FORM AND ATTACH TO THIS |  |  | 31
MOR AND RETURN TO DEQ BY THE 10TH OF NEXT MONTH.

## Sheet1 (hidden)
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0